## Slide 1: Generation of Electricity by Waste
Presented By : Vivek Rawat & Pranay Sharma
BSA College of Engineering & Technology , Mathura

## Slide 2: INTRODUCTION Electricity generation from waste refers to the process of converting various types of waste materials into electrical energy through different technologies.

## Slide 3: Need for Waste-to-Energy Increasing population and industrialization have led to large quantities of waste. Waste-to-Energy (WTE) provides an effective solution for waste management while generating useful electricity.
Increasing population growth
Increasing industrial waste

## Slide 4: Sources of Waste
1. Municipal Solid Waste (MSW)
2. Agricultural Waste
3. Industrial Waste
4. Plastic Waste
5. Biomass Waste

## Slide 5: Concept of Waste-to-Energy The concept is based on converting the chemical energy stored in waste materials into usable electrical energy using thermal, biological, or mechanical processes.

## Slide 6: Method of Electricity Generation
1. Incineration
2. Gasification
3. Pyrolysis
4. Anaerobic Digestion
5. Landfill Gas Recovery

## Slide 7: Incineration Process Involves burning waste at high temperatures to produce heat, which is used to generate steam and drive turbines for electricity production.

## Slide 8: Gasification Process Partial combustion of waste in limited oxygen produces syngas (CO + H2), which is used to drive gas turbines to produce electricity.

## Slide 9: Pyrolysis Process Thermal decomposition of organic waste materials at high temperatures in the absence of oxygen. Produces oil, gas, and char as useful by-products.

## Slide 10: Anaerobic Digestion Biological breakdown of organic waste by microorganisms in the absence of oxygen, producing biogas (mainly methane) used to generate power.

## Slide 11: Landfill Gas Recovery Methane produced from decomposing waste in landfills is collected and used as a fuel to generate electricity.

## Slide 12: Block Diagram
The basic block diagram includes:
Waste collection
Segregation Transmission
Conversion process Power generation

## Slide 13: Advantages
1. Reduces waste in landfills
2. Generates renewable energy
3. Reduces greenhouse gas emissions
4. Promotes sustainable waste management

## Slide 14: Disadvantages
1. High initial cost
2. Requires waste segregation
3. Emits pollutants if not controlled properly
4. Complex technology management

## Slide 15: Environmental Impact
Waste-to-Energy plants can reduce landfill waste and methane emissions, but require strict pollution control systems to minimize air contamination.

## Slide 16: Future Scope
With advancements in technology and increased focus on renewable energy, WTE has a strong potential in the future energy mix of India.

## Slide 17: Government Initiatives
Indian government has launched several programs under 'Swachh Bharat Mission' and 'Energy from Waste' policies to promote WTE projects.

## Slide 18: Conclusion
Generation of electricity from waste is a sustainable and environmentally friendly solution to both waste disposal and energy production.

## Slide 19
THANK YOU !